## Slide 1
Noise Source
Attenuator
BPF
Receiver
LNA
Receiver Controller
Computer
RS-232
RG-8
hardline
Attenuator Setting (dB) | Signal to BPF (dBm) | Signal to Receiver (dBm) | Reading from Receiver
30 | -76 | -56 | 690
20 | -66 | -46 | 729
10 | -56 | -36 | 2410
0 | -46 | -25 | 0
20 dB gain