## Slide 1
Noise Com
HP Step Attn
30 MHz BPF
AD 8314
Evaluation Board
DMM
20 dB RAS LNA
Antenna and probe
Test probe
20 dB Line Amp
3 dB Splitter
Band Pass Filter from Marcus Leech
Spectrum Analyzer
HP 20 dB Amplifier
Attn Setting (dB) | Dmm Reading (mV)
0 | 556
10 | 384
20 | 285
30 | 262
40 | 260